## Chart
November 15, 2001
Calm, 69 F high temp
#54 covers

## Measured Signal
Hobo logger provides 3 volts through a 100,000 ohm resistor to the ETgage Model E output signal wire.
The output circuit of the Model E pulls the signal line down to 0.0 volts for about 2 seconds while the ETgage measuring-vial fills. The output circuit is an open-collector transistor acting as a contact closure switch. Connect the white (+) wire from the Hobo Event Logger to the (+) signal (upper terminal) of the Model E. Black wire goes to the common (-) (lower terminal). Lack of Hobo response probably means reversed wires.
(+) White wire
(-) Black wire
Hobo 8000 Event Logger connected to ETgage Model E
Logger input voltage vs. time (single pulse)
Hobo's input circuitry triggers at about 1.5 volts, then cannot be retriggered for 0.5 seconds. This provides noise immunity.

## 
Data | 2001-11-15
Campbell CR10 logger
dec. hours | ETgage3 |  | Campbell on Mountain Daylight Saving Time
10.7204 | 0 |  | Hobo on Mountain Standard time
11.8667 | 0.01 |  | Campbell ahead of system clock 1.5 minutes
12.65 | 0.02 |  | Subtract 1.025 hours from Campbell to equal Hobo time
13.3333 | 0.03
13.9833 | 0.04
14.6333 | 0.05
15.2833 | 0.06 |  |  | Campbell corrected time
16 | 0.07 |  |  |  | Hobo time
16.9667 | 0.08 |  |  |  |  | inches
|  |  |  | 9.6954 | 9.6954 | 0
Hobo Event Logger |  |  |  | 10.8417 | 10.8117 | 0.01
dec. hours | ETgage2 |  |  | 11.625 | 11.6115 | 0.02
17.8581 | 0 | Start |  | 12.3083 | 12.3051 | 0.03
19.6632 | 0.01 |  |  | 12.9583 | 12.9657 | 0.04
23.5897 | 0.02 |  |  | 13.6083 | 13.6193 | 0.05
4.3719 | 0.03 |  |  | 14.2583 | 14.2789 | 0.06
9.3339 | 0.04 |  |  | 14.975 | 15.0057 | 0.07
9.6954 | 0.05 |  |  | 15.9417 | 16.0218 | 0.08
10.8117 | 0.06
11.6115 | 0.07
12.3051 | 0.08
12.9657 | 0.09
13.6193 | 0.1
14.2789 | 0.11
15.0057 | 0.12
16.0218 | 0.13 | End
previous to reset